## Planilha2
Contagem de Chamados | Cadastro no GLPI
Status do Chamado | Verificar | Cadastrado | Não Cadastrado | Total Geral
Resolvido | 1 | 24 | 41 | 66
Não Resolvido |  | 5 | 10 | 15
Total Geral | 1 | 29 | 51 | 81

## Sheet
IncidentID | CreatedBy | CreatedDate | CreateTime | Site | Summary | Resolved | ResolveDate | ResolveTime | Resolution | Resolved by | Cadastro GLPI
16150 | fti\branf | 2023-05-29 | 8:46 | 033BR | Hardware Failure - Computer | Resolvido | 2023-06-01 | 7:05 | No issues have been reported since Felipe reconnected the power supply. we can resolve the incident | fti\branf | Cadastrado
16290 | fti\arrej | 2023-06-02 | 14:20 | 010BR | Login Failure - Profile Issues | Resolvido | 2023-06-06 | 13:32 | issue has been resolved. it was related to the BUX1 -021-BR issue | fti\branf | Cadastrado
16319 | fti\arrej | 2023-06-05 | 11:35 | 004BR | Hardware Failure - Backup Device or Media | Resolvido | 2023-09-05 | 8:40 | AIFIS has replaced the capacitors and the issue has been fixed | fti\branf | Cadastrado
16330 | fti\branf | 2023-06-05 | 16:32 | 021BR | Connection Failure - Application Server | Resolvido | 2023-06-06 | 7:51 | re starting the kernel on BUX1-021-BR has resolved the issue | fti\branf | Cadastrado
16331 | fti\branf | 2023-06-05 | 16:36 | 024BR | Connection Failure - Network | Resolvido | 2023-06-28 | 13:40 | Connection is operational, no issues found on our side | fti\branf | Verificar
16586 | fti\branf | 2023-06-15 | 6:59 | 010BR | Login Failure - Domain Unavailable | Resolvido | 2023-06-16 | 6:28 | Hello Francisco, Good evening! Based on the support provided today, the router configurations have been successfully completed, and the system is now operational. Furthermore, a meeting was held today with the laboratory's IT department to clarify any doubts regarding the network requirements for ensuring proper system functionality. The client has committed to resolving the link situation within 30 days to meet the presented requirements, and they will inform us once the necessary changes have been implemented. Thank you in advance for your prompt assistance. | fti\branf | Cadastrado
16619 | fti\branf | 2023-06-16 | 10:33 | 018BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-06-26 | 8:05 | Good evening! | fti\branf | Cadastrado
16626 | fti\branf | 2023-06-16 | 13:47 | 028BR | Application Failure - Unable to Add | Resolvido | 2023-06-22 | 6:34 |  | fti\branf | Cadastrado
16656 | fti\branf | 2023-06-19 | 10:33 | 031BR | Application Failure - Unable to Add | Resolvido | 2023-06-26 | 8:04 | Based on the support provided today, the router configurations have been successfully completed, and the system is now operational. Furthermore, a meeting was held today with the laboratory's IT department to clarify any doubts regarding the network requirements for ensuring proper system functionality. The client has committed to resolving the link situation within 30 days to meet the presented requirements, and they will inform us once the necessary changes have been implemented. | fti\branf | Cadastrado
16813 | fti\branf | 2023-06-26 | 6:28 | 021BR | Login Failure - Domain Unavailable | Resolvido | 2023-06-26 | 11:31 |  | fti\branf | Cadastrado
16993 | fti\valed | 2023-07-03 | 9:24 | 018BR | Acquisition Failure - Unable to Start Acquisition | Resolvido | 2023-07-03 | 11:30 | Thank you in advance for your prompt assistance. | fti\pinee | Não Cadastrado
17034 | fti\batij | 2023-07-04 | 14:24 | 037BR | PWS Message - Module Proc_APC_Powerchute went to CRITICAL | Resolvido | 2023-07-05 | 10:29 | Agent to install the software on his next visit. | fti\pinee | Não Cadastrado
17048 | fti\valed | 2023-07-05 | 8:17 | 006BR | Application Failure - Unable to Load / View - Case | Resolvido | 2023-07-05 | 10:44 | Client will make the necessary modifications to this case. | fti\pinee | Não Cadastrado
17173 | fti\branf | 2023-07-10 | 11:33 | 034BR | Software System Issues - System Unresponsive - Blue Screen | Resolvido | 2023-07-12 | 14:39 | Got confirmation from Felipe today, the issue at 034 was ResolvedBy Tier 3, they able to acquire now. | fti\branf | Não Cadastrado
17189 | fti\branf | 2023-07-11 | 8:38 | 007BR | Hardware Failure - Computer | Resolvido | 2023-07-12 | 6:54 | Got confirmation from the site, the issue has been resolved | fti\branf | Não Cadastrado
17257 | fti\branf | 2023-07-13 | 6:19 | 039BR | Connection Failure - Disconnection | Não Resolvido | - | - | - | - | Não Cadastrado
17265 | fti\branf | 2023-07-13 | 8:49 | 027BR | Login Failure - Access Denied | Não Resolvido | - | - | - | - | Não Cadastrado
17408 | fti\branf | 2023-07-18 | 13:34 | 032BR | Connection Failure - Application Server | Resolvido | 2023-07-18 | 14:19 | Issue has been resolved after performing a Kernel re start | fti\branf | Não Cadastrado
17481 | fti\branf | 2023-07-20 | 12:18 | 034BR | Connection Failure - Application Server | Resolvido | 2023-08-18 | 13:11 | David has finished the repairs and replaced 1 arduino board, he was able to perform the acquisitions fine | fti\branf | Cadastrado
17613 | fti\branf | 2023-07-27 | 10:28 | 006BR | Login Failure - Access Denied | Resolvido | 2023-07-27 | 10:29 | After re starting the Kernel for the BUX1 we are able to log into the app | fti\branf | Não Cadastrado
17614 | fti\branf | 2023-07-27 | 10:29 | 020BR | PWS Message - Module DBG_Is_DW_Mirror_Driver_Present went to WARNING | Resolvido | 2023-07-27 | 11:39 | Mirror driver removed from the PC and rebooted | fti\branf | Não Cadastrado
17615 | fti\branf | 2023-07-27 | 10:31 | 020BR | PWS Message - Module DBG_Is_DW_Mirror_Driver_Present went to WARNING | Resolvido | 2023-07-27 | 11:39 | Mirror driver removed from the PC and rebooted | fti\branf | Não Cadastrado
17638 | fti\branf | 2023-07-28 | 6:20 | 022BR | Application Failure - Unable to Add - Case | Resolvido | 2023-08-04 | 12:46 | Changes were made to the Light SQL database, issue has been resolved | fti\branf | Cadastrado
17646 | fti\branf | 2023-07-28 | 11:18 | 012BR | Acquisition Failure - Unable to Start Acquisition | Resolvido | 2023-07-28 | 11:20 | Kernel was restarted on unit BUX1 | fti\branf | Não Cadastrado
17647 | fti\branf | 2023-07-28 | 11:20 | 012BR | Application Failure - Unable to Save | Resolvido | 2023-07-28 | 11:22 | After re starting the Kernel the issue was resolved | fti\branf | Não Cadastrado
17676 | fti\branf | 2023-07-31 | 8:51 | 029BR | Hardware Failure - Mouse / Other Peripheral | Resolvido | 2023-08-16 | 7:01 | HDMI cable was delivered and replaced | fti\branf | Cadastrado
17686 | fti\branf | 2023-07-31 | 13:33 | 007BR | Correlation Failure - Call Support | Resolvido | 2023-07-31 | 14:32 | cases had to be excluded first, then you can delete them | fti\branf | Não Cadastrado
17715 | fti\branf | 2023-08-01 | 10:53 | 023BR | Connection Failure - Network | Não Resolvido | - | - | - | - | Não Cadastrado
17719 | fti\batij | 2023-08-01 | 15:36 | 024BR | Connection Failure - Application Server | Resolvido | 2023-08-02 | 11:53 | received confirmation from Ana. the issue was ResolvedBy fixing the network issue | fti\branf | Não Cadastrado
17761 | fti\branf | 2023-08-03 | 6:32 | 018BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-08-04 | 12:47 | alignment fixed on the BUX on the Diagnostic tool | fti\branf | Não Cadastrado
17771 | fti\branf | 2023-08-03 | 12:40 | 029BR | Connection Failure - Application Server | Resolvido | 2023-08-10 | 7:56 | Issue was ResolvedBy local IT by replacing the switch | fti\branf | Não Cadastrado
17818 | fti\branf | 2023-08-07 | 9:53 | 031BR | Application Failure - Unable to Add | Resolvido | 2023-08-18 | 13:11 | No answer from users for 5 days, will re open if he reaches out | fti\branf | Cadastrado
17870 | fti\branf | 2023-08-08 | 11:20 | 020BR | Correlation Failure - New Request | Resolvido | 2023-08-09 | 12:24 | no further issues reported after the kernel was re started | fti\branf | Não Cadastrado
17906 | fti\branf | 2023-08-10 | 6:27 | 021BR | Login Failure - Access Denied | Resolvido | 2023-08-16 | 6:59 | resolving for now, no answer from the users at this point, I am able to log in and test the connection of the unit | fti\branf | Não Cadastrado
17908 | fti\branf | 2023-08-10 | 6:36 | 026BR | Login Failure - Access Denied | Resolvido | 2023-08-10 | 6:42 | Issue was resolved after rebooting the unit | fti\branf | Não Cadastrado
17981 | fti\branf | 2023-08-14 | 10:59 | 006BR | Software System Issues - 3rd Party Software | Resolvido | 2023-08-15 | 12:21 | after rebooting and reseating the USB it message did not return | fti\branf | Não Cadastrado
18091 | fti\branf | 2023-08-17 | 9:44 | 027BR | Connection Failure - Application Server | Resolvido | 2023-08-17 | 9:47 | reset of the Kernel resolved the issue, email sent to Danilo to let him know it was fixed | fti\branf | Não Cadastrado
18112 | fti\branf | 2023-08-18 | 7:45 | 018BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-08-18 | 8:51 | Adjustment was performed to the BUX to align the view location | fti\branf | Não Cadastrado
18199 | fti\valed | 2023-08-22 | 8:27 | 026BR | Login Failure - Access Denied | Resolvido | 2023-08-22 | 9:01 | I restarted the kernel to force completion of data recovery. | fti\jpruth | Não Cadastrado
18251 | fti\valed | 2023-08-23 | 14:03 | 018BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-09-05 | 8:41 | Issue being handled on Incident 18437 | fti\branf | Cadastrado
18278 | fti\valed | 2023-08-24 | 8:11 | 031BR | Acquisition Failure - Unable to Start Acquisition | Resolvido | 2023-08-30 | 8:22 | Beaglebone was replaced. New incident 18389 opened to address new issues discovered by technician. System is functional with the exception of the pilot cameras. | fti\jpruth | Cadastrado
18292 | fti\arrej | 2023-08-24 | 11:30 | 010BR | Hardware Failure - Monitor | Resolvido | 2023-09-25 | 10:04 | On, September 25, IAFIS field technician successfully installed the replacement monitor at site 010BR Brasilia DF. | fti\zaror | Cadastrado
18299 | fti\valed | 2023-08-24 | 14:04 | 010BR | Software System Issues - System Settings - Language | Resolvido | 2023-10-03 | 9:05 | system has been updated | fti\branf | Cadastrado
18315 | fti\valed | 2023-08-25 | 7:31 | 010BR | Connection Failure - Network | Resolvido | 2023-08-30 | 8:08 | The network was configured and the system was added to the DNS | fti\jpruth | Cadastrado
18352 | fti\branf | 2023-08-28 | 8:52 | 020BR | Login Failure - Domain Unavailable | Resolvido | 2023-08-28 | 8:57 | was granted permission to log into the system and did a Kernel re start, issue was resolved. | fti\branf | Não Cadastrado
18389 | fti\branf | 2023-08-29 | 7:11 | 031BR | Acquisition Failure - Image Quality | Não Resolvido | - | - | - | - | Cadastrado
18437 | fti\branf | 2023-08-30 | 11:21 | 018BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-10-11 | 13:06 | David LeBlond made the physical adjustments. | fti/branf | Cadastrado
18438 | fti\branf | 2023-08-30 | 11:40 | 006BR | Synchronization Failure - Synchronization Failed | Resolvido | 2023-08-31 | 6:18 | received assistance from Jeff Ruth, issue was resolved | fti\branf | Não Cadastrado
18468 | fti\branf | 2023-08-31 | 11:42 | 031BR | Acquisition Failure - Unable to Start Acquisition | Resolvido | 2023-09-01 | 6:08 | Issue ResolvedBy LSS last night | fti\branf | Não Cadastrado
18487 | fti\branf | 2023-09-01 | 6:08 | 015BR | Backup Failure - Internal Backup Failed | Resolvido | 2023-09-18 | 7:39 | Issue temporarily ResolvedBy AIFIs team at the site with collaboration from our IT team | fti\branf | Cadastrado
18532 | fti\branf | 2023-09-04 | 14:11 | 020BR | Acquisition Failure - Image Quality | Resolvido | 2023-09-05 | 8:38 | after resetting the cables for the camera, everything works fine | fti\branf | Não Cadastrado
18602 | fti\branf | 2023-09-06 | 12:16 | 034BR | Login Failure - Domain Unavailable | Resolvido | 2023-09-07 | 6:33 | issue ResolvedBy re starting the Kernel | fti\branf | Não Cadastrado
18603 | fti\branf | 2023-09-06 | 12:31 | 027BR | Login Failure - Access Denied | Resolvido | 2023-09-07 | 7:36 | kernel re start resolved the issue | fti\branf | Não Cadastrado
18731 | fti\branf | 2023-09-13 | 7:58 | 007BR | Hardware Failure - Monitor | Resolvido | 2023-09-14 | 7:46 | after rebooting and reconnecting the monitor, issue was resolved | fti\branf | Não Cadastrado
18791 | fti\branf | 2023-09-14 | 14:34 | 030BR | Login Failure - Access Denied | Resolvido | 2023-09-14 | 14:47 | password reset performed | fti\branf | Não Cadastrado
18797 | fti\batij | 2023-09-14 | 17:47 | 010BR | Hardware Failure - Computer | Não Resolvido | - | - | - | - | Cadastrado
18811 | fti\branf | 2023-09-15 | 7:07 | 007BR | Connection Failure - Application Server | Resolvido | 2023-09-15 | 13:15 | After adding storage to DCX1-015-BR the issue was resolved | fti\branf | Não Cadastrado
18841 | fti\branf | 2023-09-18 | 6:51 | 013BR | Acquisition Failure - Frozen During Acquisition | Resolvido | 2023-09-19 | 13:32 | Initialized the AU and reconnected with the PC, no issue found after, users will call us back if it returns | fti\branf | Cadastrado
18847 | fti\branf | 2023-09-18 | 8:02 | 023BR | Boot Failure - Computer | Resolvido | 2023-09-18 | 8:07 | duplicate ticket | fti\branf | Não Cadastrado
18852 | fti\branf | 2023-09-18 | 12:07 | 020BR | Login Failure - Access Denied | Resolvido | 2023-09-18 | 13:04 | issue was ResolvedBy re starting the Kernel | fti\branf | Não Cadastrado
18906 | fti\branf | 2023-09-20 | 7:58 | 006BR | Connection Failure - Application Server | Resolvido | 2023-09-28 | 8:59 | Comfirmed with the users, after initializing the PC and modifying the cases they were able to re synch the cases | fti\branf | Cadastrado
18907 | fti\branf | 2023-09-20 | 8:33 | 010BR | Acquisition Failure - Frozen During Acquisition | Resolvido | 2023-09-20 | 13:34 | re installing the AU software fixed the issue, after that they did a calibration and they able to acquire | fti\branf | Não Cadastrado
18984 | fti\rojas | 2023-09-24 | 17:30 | 019BR | Correlation Failure - New Request | Não Resolvido | - | - | - | - | Não Cadastrado
19000 | fti\ortis | 2023-09-25 | 13:03 | 031BR | Login Failure - Access Denied | Resolvido | 2023-10-04 | 12:35 | after Luciano made the proper cabling connections with the user we got a connection, we can close the tickets | fti\branf | Cadastrado
19001 | fti\ortis | 2023-09-25 | 13:09 | 031BR | Login Failure - Access Denied | Resolvido | 2023-10-04 | 12:35 | after Luciano made the proper cabling connections with the user we got a connection, we can close the tickets | fti\branf | Cadastrado
19033 | fti\ortis | 2023-09-26 | 11:49 | 034BR | Login Failure - Access Denied | Resolvido | 2023-09-26 | 15:40 | I restarted the kernel. | fti\jpruth | Cadastrado
19077 | fti\branf | 2023-09-28 | 7:52 | 010BR | Software System Issues - System Settings - Language | Resolvido | 2023-09-28 | 7:55 | User was added to the Portuguese keyboard list. | fti\branf | Não Cadastrado
19078 | fti\branf | 2023-09-28 | 8:05 | 005BR | Acquisition Failure - Frozen During Acquisition | Resolvido | 2023-09-29 | 12:45 | Issue resolved after a re start was performed | fti\branf | Não Cadastrado
19080 | fti\branf | 2023-09-28 | 8:34 | 007BR | Acquisition Failure - Frozen During Acquisition | Resolvido | 2023-09-29 | 9:49 | Deployment needed to do a software patch | fti\branf | Não Cadastrado
19118 | fti\branf | 2023-09-29 | 12:47 | 020BR | Acquisition Failure - Exhibit Position / Alignment | Resolvido | 2023-10-03 | 9:06 | alignment has been corrected | fti\branf | Não Cadastrado
19169 | fti\branf | 2023-10-02 | 14:29 | 013BR | Application Failure - Unable to Modify - Case | Não Resolvido | - | - | - | - | Cadastrado
19190 | fti\ortis | 2023-10-03 | 9:09 | 002BR | z_Further Review Needed_z - Unsure of How to Classify | Não Resolvido | - | - | - | - | Cadastrado
19193 | fti\ortis | 2023-10-03 | 9:54 | 013BR | z_Further Review Needed_z - Unsure of How to Classify | Não Resolvido | - | - | - | - | Cadastrado
19265 | fti\branf | 2023-10-05 | 10:12 | 020BR | Acquisition Failure - Unable to Start Acquisition | Resolvido | 2023-10-09 | 9:16 | Received confirmation from Ricardo Hira, issue has been resolved | fti\branf | Não Cadastrado
19299 | fti\branf | 2023-10-06 | 8:31 | 007BR | Acquisition Failure - Lighting | Não Resolvido | - | - | - | - | Não Cadastrado
19307 | fti\branf | 2023-10-06 | 12:03 | 023BR | Acquisition Failure - Unable to Start Acquisition | Não Resolvido | - | - | - | - | Não Cadastrado
19366 | fti\branf | 2023-10-10 | 9:21 | 020BR | Acquisition Failure - Image Quality | Não Resolvido | - | - | - | - | Não Cadastrado
19369 | fti\branf | 2023-10-10 | 22:13 | 029BR | Correlation Failure - Failed | Não Resolvido | - | - | - | - | Não Cadastrado
19388 | fti\branf | 2023-10-11 | 7:39 | 026BR | Login Failure - Access Denied | Resolvido | 2023-10-11 | 7:44 | restarted Kernel | fti/branf | Não Cadastrado
19391 | fti\branf | 2023-10-11 | 8:05 | 010BR | Connection Failure - Network | Não Resolvido | - | - | - | - | Não Cadastrado
19397 | fti\branf | 2023-10-11 | 10:11 | 032BR | Connection Failure - Application Server | Resolvido | 2023-10-11 | 11:17 | after a PC reboot I was able to log in to the app, Users confirmed they now have functionality. | fti\branf | Não Cadastrado
19429 | fti\branf | 2023-10-12 | 9:48 | 009BR | Hardware Failure - Mouse / Other Peripheral | Não Resolvido | - | - | - | - | Não Cadastrado